## Summary
DUID | Project Name | Fuel | Location | REZ | REZ Name | REZ Source | State | MW | kV | Actual FY24-25 | Actual FY25-26 | ELI Near Term (2026-28) | ELI Med Term (2030-35) | ELI Source | FY25-26 | FY26-27 | Curt FY1 | Curt FY2 | Curt FY3 | Curt Avg | Offl FY1 | Offl FY2 | Offl FY3 | Offl Avg | 2026 ISP REZ | 2026 ISP REZ match | 2026 ISP Step Change Transm Curt 2029-30 | 2026 ISP Step Change Transm Curt 2039-40 | 2026 ISP Step Change Transm Curt 2049-50 | 2026 ISP Step Change Econ Spill 2029-30 | 2026 ISP Step Change Econ Spill 2039-40 | 2026 ISP Step Change Econ Spill 2049-50
ADPPV1 | Adelaide Desalination Plant | Solar |  | N | Non-REZ | eli | SA | 24.75 |  | 0.2756 |  |  |  |  | 1.0037 | 1.0033
ADPPV2 | Adelaide Desalination Plant | Solar |  | N | Non-REZ | eli-station | SA | 0.2 | [6 empty] | 1.0037 | 1.0033
ADPPV3 | Adelaide Desalination Plant | Solar |  | N | Non-REZ | eli-station | SA | 0.02 | [6 empty] | 1.0037 | 1.0033
BOWWPV1 | Bolivar Waste Water Treatment Plant | Solar |  | N | Non-REZ | eli | SA | 8.25 |  | 0.1844 | 0.2169 |  |  |  | 0.9999 | 1.0002
BNGSF1 | Bungala One Solar Farm | Solar | Davenport | Y | Northern South Australia | eli | SA | 135 | 132 | 0.3552 |  | 0.50108 | 0.21286 | location | 0.9725 | 0.9703 | 0 | 0 | 0 | 0 | 0.07 | 0.08 | 0.07 | 0.073333 | Northern South Australia | exact | 0 | 0 | 0 | 0 | 0.08 | 0.2
BNGSF2 | Bungala Two Solar Farm | Solar | Davenport | Y | Northern South Australia | eli | SA | 135 | 132 | 0.2949 | 0.3494 | 0.50108 | 0.21286 | location | 0.9725 | 0.9703 | 0 | 0 | 0 | 0 | 0.07 | 0.08 | 0.07 | 0.073333 | Northern South Australia | exact | 0 | 0 | 0 | 0 | 0.08 | 0.2
CBWWPV1 | Christies Beach Wastewater Treatment Plant | Solar |  |  |  |  | SA | 2.75 | [6 empty] | 1.0037 | 1.0033
CBWWPV2 | Christies Beach Wastewater Treatment Plant | Solar |  |  |  |  | SA | 1.08 | [6 empty] | 1.0037 | 1.0033
HVWWPV1 | Happy Valley Water Treatment Plant | Solar | Para | N | Non-REZ | eli | SA | 11 | 66 | 0.2553 | 0.3271 | 0.51139 | 0.22266 | location | 1.0024 | 1.0022
MAPS2PV1 | Mannum - Adelaide Pipeline Pumping Station No 2, PV Units 1-6 | Solar | Mobilong | Y | South East South Australia | eli | SA | 16.5 | 3.3 | 0.2156 |  | 0.51059 | 0.22578 | location | 1.0257 | 1.0134 | 0 | 0 | 0 | 0 | 0.1 | 0.09 | 0.09 | 0.093333 | South East | renamed | 0 | 0 | 0 | 0 | 0.01 | 0.11
MAPS3PV1 | Mannum - Adelaide Pipeline Pumping Station No 3, PV Units 1-6 | Solar | Mobilong | Y | South East South Australia | eli | SA | 16.5 | 3.3 |  |  | 0.51059 | 0.22578 | location | 1.0252 | 1.0137 | 0 | 0 | 0 | 0 | 0.1 | 0.09 | 0.09 | 0.093333 | South East | renamed | 0 | 0 | 0 | 0 | 0.01 | 0.11
MANNSF2 | Mannum 2 Solar Farm | Solar | Mobilong | Y | Riverland | eli | SA | 29.99 | 33 | 0.3248 | 0.2805 | 0.51059 | 0.22578 | location | 0.9932 | 0.9959 | 0 | 0 | 0 | 0 | 0.16 | 0.16 | 0.16 | 0.16 | Riverland | exact | 0 | 0 | 0 | 0 | 0.02 | 0.26
MWPS1PV1 | Morgan-Whyalla Pipeline Pumping Station No 1 | Solar | Waterloo | Y | Riverland | eli | SA | 5.5 | 3.3 | 0.2754 | 0.3889 | 0.65426 | 0.51267 | location | 1.0146 | 0.9541 | 0 | 0 | 0 | 0 | 0.16 | 0.16 | 0.16 | 0.16 | Riverland | exact | 0 | 0 | 0 | 0 | 0.02 | 0.26
MWPS2PV1 | Morgan-Whyalla Pipeline Pumping Station No 2 | Solar | Waterloo | Y | Riverland | eli | SA | 5.5 | 3.3 | 0.2706 | 0.3995 | 0.65426 | 0.51267 | location | 1.003 | 0.9664 | 0 | 0 | 0 | 0 | 0.16 | 0.16 | 0.16 | 0.16 | Riverland | exact | 0 | 0 | 0 | 0 | 0.02 | 0.26
MWPS3PV1 | Morgan-Whyalla Pipeline Pumping Station No 3 | Solar | Waterloo | Y | Riverland | eli | SA | 7.5 | 3.3 | 0.1479 | 0.2859 | 0.65426 | 0.51267 | location | 0.9897 | 0.9741 | 0 | 0 | 0 | 0 | 0.16 | 0.16 | 0.16 | 0.16 | Riverland | exact | 0 | 0 | 0 | 0 | 0.02 | 0.26
MWPS4PV1 | Morgan-Whyalla Pipeline Pumping Station No 4 | Solar | Waterloo | Y | Riverland | eli | SA | 5.5 | 3.3 | 0.2332 | 0.3486 | 0.65426 | 0.51267 | location | 0.9837 | 0.9773 | 0 | 0 | 0 | 0 | 0.16 | 0.16 | 0.16 | 0.16 | Riverland | exact | 0 | 0 | 0 | 0 | 0.02 | 0.26
MBPS2PV1 | Murray Bridge-Onkaparinga Pipeline Pumping Station No 2 | Solar | Mobilong | Y | South East South Australia | eli | SA | 13.75 | 11 | 0.2613 |  | 0.51059 | 0.22578 | location | 1.0127 | 1.011 | 0 | 0 | 0 | 0 | 0.1 | 0.09 | 0.09 | 0.093333 | South East | renamed | 0 | 0 | 0 | 0 | 0.01 | 0.11
PAREPS1 | Port Augusta Renewable Energy Park | Solar | Davenport | Y | Northern South Australia | eli | SA | 79.2 | 275 | 0.4012 | 0.4795 | 0.50108 | 0.21286 | location | 0.9735 | 0.9709 | 0 | 0 | 0 | 0 | 0.07 | 0.08 | 0.07 | 0.073333 | Northern South Australia | exact | 0 | 0 | 0 | 0 | 0.08 | 0.2
TB2SF1 | Tailem Bend 2 Hybrid Renewable Power Station | Solar | Tailem Bend | N | Non-REZ | eli | SA | 105 | 132 | 0.3167 | 0.4574 | 0.51137 | 0.22946 | location | 0.9945 | 0.9968
TBSF1 | Tailem Bend Solar Project 1 | Solar | Tailem Bend | N | Non-REZ | eli | SA | 108 | 132 | 0.384 | 0.5139 | 0.51137 | 0.22946 | location | 0.9952 | 0.9978
CNUNDAWF | Canunda Wind Farm | Wind |  | Y | South East South Australia | eli | SA | 46 |  | 0.2612 | 0.2954 |  |  |  | 0.9333 | 0.9527 | 0 | 0 | 0 | 0 | 0.1 | 0.09 | 0.09 | 0.093333 | South East | renamed | 0 | 0 | 0 | 0 | 0.01 | 0.11
CATHROCK | Cathedral Rocks | Wind |  | Y | Eastern Eyre Peninsula | eli | SA | 66 |  | 0.0518 | 0.0382 |  |  |  | 0.9467 | 0.9417 | 0 | 0 | 0 | 0 | 0.05 | 0.04 | 0.06 | 0.05 | Eastern Eyre Peninsula | renamed | 0 | 0 | 0 | 0 | 0.13 | 0.18
CLEMGPWF | Clements Gap Wind Farm | Wind |  | Y | Mid-North South Australia | eli | SA | 57 |  | 0.005 | 0.0162 |  |  |  | 0.9604 | 0.9614 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
GSWF1A | Goyder South Wind Farm 1A | Wind |  | Y | Mid-North South Australia | eli | SA | 209 |  | 0.1796 | 0.0939 |  |  |  | 0.9697 | 0.9687 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
GSWF1B1 | Goyder South Wind Farm 1B | Wind |  | Y | Mid-North South Australia | eli | SA | 203 |  |  | 0.2788 |  |  |  | 0.9689 | 0.9687 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
HALLWF1 | Hallett 1 Wind Farm | Wind |  | Y | Mid-North South Australia | eli | SA | 94.5 |  | 0.1208 | 0.1932 |  |  |  | 0.9663 | 0.9628 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
HALLWF2 | Hallett 2 Wind Farm | Wind |  | Y | Mid-North South Australia | eli | SA | 71.4 |  | 0.1084 | 0.1913 |  |  |  | 0.9608 | 0.9606 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
HDWF1 | Hornsdale Wind Farm | Wind |  | Y | Mid-North South Australia | eli | SA | 102.4 |  | 0.001 | 0 |  |  |  | 0.956 | 0.9533 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
HDWF2 | Hornsdale Wind Farm 2 | Wind |  | Y | Mid-North South Australia | eli | SA | 102.4 |  | 0 | 0 |  |  |  | 0.956 | 0.9533 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
HDWF3 | Hornsdale Wind Farm 3 | Wind |  | Y | Mid-North South Australia | eli | SA | 112 |  | 0 | 0 |  |  |  | 0.956 | 0.9533 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
LKBONNY2 | Lake Bonney Stage 2 Windfarm | Wind |  | Y | South East South Australia | eli | SA | 159 |  | 0.2 | 0.2496 |  |  |  | 0.9297 | 0.9468 | 0 | 0 | 0 | 0 | 0.1 | 0.09 | 0.09 | 0.093333 | South East | renamed | 0 | 0 | 0 | 0 | 0.01 | 0.11
LKBONNY3 | Lake Bonney Stage 3 Wind Farm | Wind |  | Y | South East South Australia | eli | SA | 39 |  | 0.2652 | 0.2733 |  |  |  | 0.9297 | 0.9468 | 0 | 0 | 0 | 0 | 0.1 | 0.09 | 0.09 | 0.093333 | South East | renamed | 0 | 0 | 0 | 0 | 0.01 | 0.11
LKBONNY1 | Lake Bonney Wind Farm Stage 1 | Wind |  | Y | South East South Australia | eli | SA | 80.5 |  | 0.2637 | 0.3005 |  |  |  | 0.9297 | 0.9468 | 0 | 0 | 0 | 0 | 0.1 | 0.09 | 0.09 | 0.093333 | South East | renamed | 0 | 0 | 0 | 0 | 0.01 | 0.11
LGAPWF1 | Lincoln Gap Wind Farm | Wind |  | Y | Northern South Australia | eli | SA | 126 |  | 0.1458 | 0.1782 |  |  |  | 0.9689 | 0.9661 | 0 | 0 | 0 | 0 | 0.07 | 0.08 | 0.07 | 0.073333 | Northern South Australia | exact | 0 | 0 | 0 | 0 | 0.08 | 0.2
LGAPWF2 | Lincoln Gap Wind Farm | Wind |  | Y | Northern South Australia | eli | SA | 86 |  | 0.1653 | 0.1994 |  |  |  | 0.9689 | 0.9661 | 0 | 0 | 0 | 0 | 0.07 | 0.08 | 0.07 | 0.073333 | Northern South Australia | exact | 0 | 0 | 0 | 0 | 0.08 | 0.2
MTMILLAR | Mt Millar Wind Farm | Wind |  | Y | Eastern Eyre Peninsula | eli | SA | 70 |  | 0.3052 | 0.151 |  |  |  | 0.9403 | 0.9387 | 0 | 0 | 0 | 0 | 0.05 | 0.04 | 0.06 | 0.05 | Eastern Eyre Peninsula | renamed | 0 | 0 | 0 | 0 | 0.13 | 0.18
NBHWF1 | North Brown Hill Wind Farm | Wind |  | Y | Mid-North South Australia | eli | SA | 132.3 |  | 0.1223 | 0.1727 |  |  |  | 0.9579 | 0.9572 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
PAREPW1 | Port Augusta Renewable Energy Park | Wind |  | Y | Northern South Australia | eli | SA | 210 |  | 0.1999 | 0.2151 |  |  |  | 0.9735 | 0.9709 | 0 | 0 | 0 | 0 | 0.07 | 0.08 | 0.07 | 0.073333 | Northern South Australia | exact | 0 | 0 | 0 | 0 | 0.08 | 0.2
SNOWSTH1 | Snowtown South Wind Farm | Wind |  | Y | Mid-North South Australia | eli | SA | 126 |  | 0.0035 | 0 |  |  |  | 0.9695 | 0.9699 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
SNOWNTH1 | Snowtown Wind Farm Stage 2 North | Wind |  | Y | Mid-North South Australia | eli | SA | 144 |  | 0 | 0.0011 |  |  |  | 0.9695 | 0.9699 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
SNOWTWN1 | Snowtown Wind Farm Units 1 And 47 | Wind |  | Y | Mid-North South Australia | eli | SA | 99 |  | 0.1863 | 0.2693 |  |  |  | 0.9157 | 0.9132 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
STARHLWF | Starfish Hill Wind Farm | Wind |  | N | Non-REZ | eli | SA | 34.5 |  | 0 | 0 |  |  |  | 1.0037 | 1.0033
BLUFF1 | The Bluff Wind Farm | Wind |  | Y | Mid-North South Australia | eli | SA | 52.5 |  | 0.0886 | 0.1901 |  |  |  | 0.9579 | 0.9572 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
WATERLWF | Waterloo Wind Farm | Wind |  | Y | Mid-North South Australia | eli | SA | 130.8 |  | 0.0205 | 0.0109 | 0.69149 | 0.40274 | location-name | 0.9624 | 0.9611 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09
WPWF | Wattle Point Wind Farm | Wind |  | Y | Yorke Peninsula | eli | SA | 90.75 |  | 0.1686 | 0.2012 |  |  |  | 0.8456 | 0.8476 | 0 | 0 | 0 | 0 | 0.1 | 0.09 | 0.09 | 0.093333 | Yorke Peninsula | exact | 0 |  | 0 | 0 |  | 0.25
WGWF1 | Willogoleche Wind Farm | Wind |  | Y | Mid-North South Australia | eli | SA | 122 |  | 0.0432 | 0.0337 |  |  |  | 0.9601 | 0.9592 | 0 | 0 | 0 | 0 | 0.07 | 0.05 | 0.04 | 0.053333 | Mid-North | renamed | 0 | 0 | 0 | 0 | 0 | 0.09

## Heatmap
DUID | Fuel | MLF_FY25-26 | MLF_FY26-27 | CURTAILMENT_ACTUAL_FY24-25 | CURTAILMENT_ACTUAL_FY25-26 | ELI_CURTAILMENT_NEAR | ELI_CURTAILMENT_MED | ISP_CURTAILMENT_FY1 | ISP_CURTAILMENT_FY1_LABEL | ISP_CURTAILMENT_FY2 | ISP_CURTAILMENT_FY2_LABEL | ISP_CURTAILMENT_FY3 | ISP_CURTAILMENT_FY3_LABEL | ISP_CURTAILMENT_AVG | ISP_OFFLOADING_FY1 | ISP_OFFLOADING_FY1_LABEL | ISP_OFFLOADING_FY2 | ISP_OFFLOADING_FY2_LABEL | ISP_OFFLOADING_FY3 | ISP_OFFLOADING_FY3_LABEL | ISP_OFFLOADING_AVG | ISPA3_TRANSMISSION_Y1 | ISPA3_TRANSMISSION_Y2 | ISPA3_TRANSMISSION_Y3 | ISPA3_SPILL_Y1 | ISPA3_SPILL_Y2 | ISPA3_SPILL_Y3
ADPPV1 | Solar | 1.0037 | 1.0033 | 0.2756
ADPPV2 | Solar | 1.0037 | 1.0033
ADPPV3 | Solar | 1.0037 | 1.0033
BOWWPV1 | Solar | 0.9999 | 1.0002 | 0.1844 | 0.2169
BNGSF1 | Solar | 0.9725 | 0.9703 | 0.3552 |  | 0.50108 | 0.21286 | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.08 | 26-27 | 0.07 | 27-28 | 0.073333 | 0 | 0 | 0 | 0 | 0.08 | 0.2
BNGSF2 | Solar | 0.9725 | 0.9703 | 0.2949 | 0.3494 | 0.50108 | 0.21286 | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.08 | 26-27 | 0.07 | 27-28 | 0.073333 | 0 | 0 | 0 | 0 | 0.08 | 0.2
CBWWPV1 | Solar | 1.0037 | 1.0033
CBWWPV2 | Solar | 1.0037 | 1.0033
HVWWPV1 | Solar | 1.0024 | 1.0022 | 0.2553 | 0.3271 | 0.51139 | 0.22266
MAPS2PV1 | Solar | 1.0257 | 1.0134 | 0.2156 |  | 0.51059 | 0.22578 | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.1 | 25-26 | 0.09 | 26-27 | 0.09 | 27-28 | 0.093333 | 0 | 0 | 0 | 0 | 0.01 | 0.11
MAPS3PV1 | Solar | 1.0252 | 1.0137 |  |  | 0.51059 | 0.22578 | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.1 | 25-26 | 0.09 | 26-27 | 0.09 | 27-28 | 0.093333 | 0 | 0 | 0 | 0 | 0.01 | 0.11
MANNSF2 | Solar | 0.9932 | 0.9959 | 0.3248 | 0.2805 | 0.51059 | 0.22578 | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.16 | 25-26 | 0.16 | 26-27 | 0.16 | 27-28 | 0.16 | 0 | 0 | 0 | 0 | 0.02 | 0.26
MWPS1PV1 | Solar | 1.0146 | 0.9541 | 0.2754 | 0.3889 | 0.65426 | 0.51267 | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.16 | 25-26 | 0.16 | 26-27 | 0.16 | 27-28 | 0.16 | 0 | 0 | 0 | 0 | 0.02 | 0.26
MWPS2PV1 | Solar | 1.003 | 0.9664 | 0.2706 | 0.3995 | 0.65426 | 0.51267 | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.16 | 25-26 | 0.16 | 26-27 | 0.16 | 27-28 | 0.16 | 0 | 0 | 0 | 0 | 0.02 | 0.26
MWPS3PV1 | Solar | 0.9897 | 0.9741 | 0.1479 | 0.2859 | 0.65426 | 0.51267 | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.16 | 25-26 | 0.16 | 26-27 | 0.16 | 27-28 | 0.16 | 0 | 0 | 0 | 0 | 0.02 | 0.26
MWPS4PV1 | Solar | 0.9837 | 0.9773 | 0.2332 | 0.3486 | 0.65426 | 0.51267 | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.16 | 25-26 | 0.16 | 26-27 | 0.16 | 27-28 | 0.16 | 0 | 0 | 0 | 0 | 0.02 | 0.26
MBPS2PV1 | Solar | 1.0127 | 1.011 | 0.2613 |  | 0.51059 | 0.22578 | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.1 | 25-26 | 0.09 | 26-27 | 0.09 | 27-28 | 0.093333 | 0 | 0 | 0 | 0 | 0.01 | 0.11
PAREPS1 | Solar | 0.9735 | 0.9709 | 0.4012 | 0.4795 | 0.50108 | 0.21286 | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.08 | 26-27 | 0.07 | 27-28 | 0.073333 | 0 | 0 | 0 | 0 | 0.08 | 0.2
TB2SF1 | Solar | 0.9945 | 0.9968 | 0.3167 | 0.4574 | 0.51137 | 0.22946
TBSF1 | Solar | 0.9952 | 0.9978 | 0.384 | 0.5139 | 0.51137 | 0.22946
CNUNDAWF | Wind | 0.9333 | 0.9527 | 0.2612 | 0.2954 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.1 | 25-26 | 0.09 | 26-27 | 0.09 | 27-28 | 0.093333 | 0 | 0 | 0 | 0 | 0.01 | 0.11
CATHROCK | Wind | 0.9467 | 0.9417 | 0.0518 | 0.0382 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.05 | 25-26 | 0.04 | 26-27 | 0.06 | 27-28 | 0.05 | 0 | 0 | 0 | 0 | 0.13 | 0.18
CLEMGPWF | Wind | 0.9604 | 0.9614 | 0.005 | 0.0162 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
GSWF1A | Wind | 0.9697 | 0.9687 | 0.1796 | 0.0939 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
GSWF1B1 | Wind | 0.9689 | 0.9687 |  | 0.2788 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
HALLWF1 | Wind | 0.9663 | 0.9628 | 0.1208 | 0.1932 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
HALLWF2 | Wind | 0.9608 | 0.9606 | 0.1084 | 0.1913 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
HDWF1 | Wind | 0.956 | 0.9533 | 0.001 | 0 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
HDWF2 | Wind | 0.956 | 0.9533 | 0 | 0 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
HDWF3 | Wind | 0.956 | 0.9533 | 0 | 0 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
LKBONNY2 | Wind | 0.9297 | 0.9468 | 0.2 | 0.2496 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.1 | 25-26 | 0.09 | 26-27 | 0.09 | 27-28 | 0.093333 | 0 | 0 | 0 | 0 | 0.01 | 0.11
LKBONNY3 | Wind | 0.9297 | 0.9468 | 0.2652 | 0.2733 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.1 | 25-26 | 0.09 | 26-27 | 0.09 | 27-28 | 0.093333 | 0 | 0 | 0 | 0 | 0.01 | 0.11
LKBONNY1 | Wind | 0.9297 | 0.9468 | 0.2637 | 0.3005 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.1 | 25-26 | 0.09 | 26-27 | 0.09 | 27-28 | 0.093333 | 0 | 0 | 0 | 0 | 0.01 | 0.11
LGAPWF1 | Wind | 0.9689 | 0.9661 | 0.1458 | 0.1782 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.08 | 26-27 | 0.07 | 27-28 | 0.073333 | 0 | 0 | 0 | 0 | 0.08 | 0.2
LGAPWF2 | Wind | 0.9689 | 0.9661 | 0.1653 | 0.1994 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.08 | 26-27 | 0.07 | 27-28 | 0.073333 | 0 | 0 | 0 | 0 | 0.08 | 0.2
MTMILLAR | Wind | 0.9403 | 0.9387 | 0.3052 | 0.151 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.05 | 25-26 | 0.04 | 26-27 | 0.06 | 27-28 | 0.05 | 0 | 0 | 0 | 0 | 0.13 | 0.18
NBHWF1 | Wind | 0.9579 | 0.9572 | 0.1223 | 0.1727 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
PAREPW1 | Wind | 0.9735 | 0.9709 | 0.1999 | 0.2151 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.08 | 26-27 | 0.07 | 27-28 | 0.073333 | 0 | 0 | 0 | 0 | 0.08 | 0.2
SNOWSTH1 | Wind | 0.9695 | 0.9699 | 0.0035 | 0 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
SNOWNTH1 | Wind | 0.9695 | 0.9699 | 0 | 0.0011 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
SNOWTWN1 | Wind | 0.9157 | 0.9132 | 0.1863 | 0.2693 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
STARHLWF | Wind | 1.0037 | 1.0033 | 0 | 0
BLUFF1 | Wind | 0.9579 | 0.9572 | 0.0886 | 0.1901 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
WATERLWF | Wind | 0.9624 | 0.9611 | 0.0205 | 0.0109 | 0.69149 | 0.40274 | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09
WPWF | Wind | 0.8456 | 0.8476 | 0.1686 | 0.2012 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.1 | 25-26 | 0.09 | 26-27 | 0.09 | 27-28 | 0.093333 | 0 |  | 0 | 0 |  | 0.25
WGWF1 | Wind | 0.9601 | 0.9592 | 0.0432 | 0.0337 |  |  | 0 | 25-26 | 0 | 26-27 | 0 | 27-28 | 0 | 0.07 | 25-26 | 0.05 | 26-27 | 0.04 | 27-28 | 0.053333 | 0 | 0 | 0 | 0 | 0 | 0.09